## Controllers & Plants (hidden)
SELECT XLBController.controllername as Controller_Name,XLBController.controllerdescription as Description,XLBController.controllernumber as Device_ID, subnetname as Subnet, XLBController.ipaddress as IP_Address, XLBController.controllertypeid as Controller_Type,XLBController2.controllername as Zone_Controller,channelname as Channel, plantname as Plant_Name, plantdescritpion as Plant_Description FROM XLBController left join XLBSubnet on XLBController.SubnetID = XLBSubnet.SubnetID left join XLBChannel on XLBController.channelid = XLBChannel.channelid left join XLBController as XLBController2 on XLBController.zonecontrollerid = XLBController2.controllerid inner join XLBPlant on XLBController.ControllerID = XLBPlant.ControllerID order by XLBController.controllername
|  | Project Name: | Create Project44
|  | No. of Records: | 2
Controller Name | Controller Description | Device ID | Subnet | IP Address | Controller Type | Associate Plant Controller | Channel | Plant Name | Plant Description
Database |  | 128 | IPSubnet 1 |  | CPO-PC-6A
Database | [7 empty] | zShared
Database | [7 empty] | plant

## Sheet1 (hidden)
0
|  | Project Name: | Project121345 | Fields marked with * can be updated |  | Search Value (use ; to add multiple)
|  | No. Records | 67
[9 empty] | No. Records | 298
Plant Name | User Address* | Description* | Point Type | Instance | Relinquish Default* | COV* | Alarm Enable* | Notification Class* | Alarm High* | Alarm High Enabled* | Alarm Low* | Alarm Low Enabled* | Alarm Delay* | Eng Unit* | State Text* | Datapoint ID
AHU_01 | D_1F_01_FAHU_A_ClgRTmp | Cooling Coil CHW Return Temp | Analog Input | 1 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 1
AHU_01 | D_1F_01_FAHU_A_RaRh | Return Air Humidity | Analog Input | 2 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 2
AHU_01 | D_1F_01_FAHU_A_RaTmp | Return Air Temperature | Analog Input | 3 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 3
AHU_01 | D_1F_01_FAHU_A_HRWOffRh | Off HRW Downstream Humidity | Analog Input | 4 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 4
AHU_01 | D_1F_01_FAHU_A_HRWOffTmp | Off HRW Downstream Temperature | Analog Input | 5 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 5
AHU_01 | D_1F_01_FAHU_A_HRWOnRh | On HRW Upstream Humidity | Analog Input | 6 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 6
AHU_01 | D_1F_01_FAHU_A_HRWOnTmp | On HRW Upstream Temperature | Analog Input | 7 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 7
AHU_01 | D_1F_01_FAHU_A_FaRh | Fresh Air Humidity | Analog Input | 8 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 8
AHU_01 | D_1F_01_FAHU_A_FaTmp | Fresh Air Temperature | Analog Input | 9 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 9
AHU_01 | D_1F_01_FAHU_A_ClgVlvFb | Cooling Valve Feedback | Analog Input | 10 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 10
AHU_01 | D_1F_01_FAHU_A_RaDmprFb | Return Air Damper Feedback | Analog Input | 11 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 11
AHU_01 | D_1F_01_FAHU_A_FaDmprFb | Fresh Air Damper Feedback | Analog Input | 12 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 12
AHU_01 | D_1F_01_FAHU_A_SaRh | Supply Air Humidity | Analog Input | 13 | N/A | 1 | 1 | HIGH | 100 | 1 | 0 | 0 | 10 | percent-relative-humidity | N/A | 13
AHU_01 | D_1F_01_FAHU_A_SaTmp | Supply Air Temperature | Analog Input | 14 | N/A | 0.2 | 1 | HIGH | 100 | 1 | 0 | 1 | 10 | °C | N/A | 14
AHU_01 | D_1F_01_FAHU_A_SfVFDFb | Supply Fan VFD Feedback | Analog Input | 15 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 15
AHU_01 | D_1F_01_FAHU_A_EfVFDFb | Extract Air Fan VFD Feedback | Analog Input | 16 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 16
AHU_01 | D_1F_01_AHU_01_ClgRTmp | Cooling Coil CHW Return Temp | Analog Input | 17 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 17
AHU_01 | D_1F_01_AHU_01_RaRh | Return Air Humidity | Analog Input | 18 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 18
AHU_01 | D_1F_01_AHU_01_RaTmp | Return Air Temperature | Analog Input | 19 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 19
AHU_01 | D_1F_01_AHU_01_RaCo2 | Return Air Quality / CO2 | Analog Input | 20 | N/A | 10 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | parts-per-million | N/A | 20
AHU_01 | D_1F_01_AHU_01_MaRh | Mix Air Humidity | Analog Input | 21 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | percent-relative-humidity | N/A | 21
AHU_01 | D_1F_01_AHU_01_MaTmp | Mix Air Temperature | Analog Input | 22 | N/A | 0.2 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | °C | N/A | 22
AHU_01 | D_1F_01_AHU_01_ClgVlvFb | Cooling Valve Feedback | Analog Input | 23 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 23
AHU_01 | D_1F_01_AHU_01_RaDmprFb | Return Air Damper Feedback | Analog Input | 24 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 24
AHU_01 | D_1F_01_AHU_01_FaDmprFb | Fresh Air Damper Feedback | Analog Input | 25 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 25
AHU_01 | D_1F_01_AHU_01_SaRh | Supply Air Humidity | Analog Input | 26 | N/A | 1 | 1 | HIGH | 100 | 1 | 0 | 0 | 10 | percent-relative-humidity | N/A | 26
AHU_01 | D_1F_01_AHU_01_SaTmp | Supply Air Temperature | Analog Input | 27 | N/A | 0.2 | 1 | HIGH | 100 | 1 | 0 | 1 | 10 | °C | N/A | 27
AHU_01 | D_1F_01_AHU_01_SfVFDFb | Supply Fan VFD Feedback | Analog Input | 28 | N/A | 1 | 0 | URGENT | 100 | 0 | 0 | 0 | 86400 | % | N/A | 28
AHU_01 | D_1F_01_FAHU_A_ClgVlvCtl | Cooling Valve Control | Analog Output | 1 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 29
AHU_01 | D_1F_01_FAHU_A_FaDmprCtl | Fresh Air Damper Control | Analog Output | 2 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 30
AHU_01 | D_1F_01_FAHU_A_SfVFDCtl | Supply Fan VFD Control | Analog Output | 3 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 31
AHU_01 | D_1F_01_FAHU_A_EfVFDCtl | Extract Fan VFD Control | Analog Output | 4 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 32
AHU_01 | D_1F_01_FAHU_A_RaDmprCtl | Return Air Damper Control | Analog Output | 5 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 33
AHU_01 | D_1F_01_AHU_01_ClgVlvCtl | Cooling Valve Control | Analog Output | 6 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 34
AHU_01 | D_1F_01_AHU_01_FaDmprCtl | Fresh Air Damper Control | Analog Output | 7 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 35
AHU_01 | D_1F_01_AHU_01_SfVFDCtl | Supply Fan VFD Control | Analog Output | 8 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 36
AHU_01 | D_1F_01_AHU_01_RaDmprCtl | Return Air Damper Control | Analog Output | 9 | 0 | 1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | % | N/A | 37
AHU_01 | SEF_07D_1F_01_SEF_07_FHOASts | Fan Hand/Off/Auto | Binary Input | 1 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 38
AHU_01 | SEF_07D_1F_01_SEF_07_FTripAlm | Fan Trip Alarm | Binary Input | 2 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 39
AHU_01 | SEF_07D_1F_01_SEF_07_FFlowSts | Fan Air Flow Status | Binary Input | 3 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | Off;On | 40
AHU_01 | SEF_07D_1F_01_SEF_07_DmprFb | Damper Feedback | Binary Input | 4 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 1 | N/A | Close;Open | 41
AHU_01 | SEF_07D_1F_01_SEF_07_FireAlm | Fire Alarm Signal | Binary Input | 5 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 42
AHU_01 | D_1F_01_FAHU_A_BagFltrAlm | Bag - Filter Clogged Alarm | Binary Input | 6 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 300 | N/A | Normal;Alarm | 43
AHU_01 | D_1F_01_FAHU_A_RaFltrAlm | Return Air Filter Clogged Alarm | Binary Input | 7 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 300 | N/A | Normal;Alarm | 44
AHU_01 | D_1F_01_FAHU_A_EfFlowSts | Extract Air Fan Air Flow Status | Binary Input | 8 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | Off;On | 45
AHU_01 | D_1F_01_FAHU_A_EfHOASts | Extract Air Fan H-O-A Status | Binary Input | 9 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 46
AHU_01 | D_1F_01_FAHU_A_EfTripSts | Extract Air Fan VFD Trip Alarm | Binary Input | 10 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 47
AHU_01 | D_1F_01_FAHU_A_FireAlm | Fire Alarm System Interlock | Binary Input | 11 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 48
AHU_01 | D_1F_01_FAHU_A_HRWHOASts | HRW Fan H-O-A Status | Binary Input | 12 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 49
AHU_01 | D_1F_01_FAHU_A_HRWRunSts | HRW Fan Run Status | Binary Input | 13 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | Off;On | 50
AHU_01 | D_1F_01_FAHU_A_HRWTripSts | HRW Fan Trip Alarm | Binary Input | 14 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 51
AHU_01 | D_1F_01_FAHU_A_PreFltrAlm | Pre - Filter Clogged Alarm | Binary Input | 15 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 300 | N/A | Normal;Alarm | 52
AHU_01 | D_1F_01_FAHU_A_SfFlowSts | Supply Fan Air Flow Status | Binary Input | 16 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | Off;On | 53
AHU_01 | D_1F_01_FAHU_A_SfHOASts | Supply Fan H-O-A Status | Binary Input | 17 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 54
AHU_01 | D_1F_01_FAHU_A_SmkDetAlm | Smoke Detector Alarm | Binary Input | 18 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 55
AHU_01 | D_1F_01_FAHU_A_SfTripSts | Supply Fan VFD Trip Alarm | Binary Input | 19 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 56
AHU_01 | D_1F_01_AHU_01_BagFltrAlm | Bag - Filter Clogged Alarm | Binary Input | 20 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 300 | N/A | Normal;Alarm | 57
AHU_01 | D_1F_01_AHU_01_SfHOASts | Supply Fan H-O-A Status | Binary Input | 21 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | N/A | 58
AHU_01 | D_1F_01_AHU_01_SmkDetAlm | Smoke Detector Alarm | Binary Input | 22 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 59
AHU_01 | D_1F_01_AHU_01_FireAlm | Fire Alarm System Interlock | Binary Input | 23 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 60
AHU_01 | D_1F_01_AHU_01_PreFltrAlm | Pre - Filter Clogged Alarm | Binary Input | 24 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 300 | N/A | Normal;Alarm | 61
AHU_01 | D_1F_01_AHU_01_SfTripSts | Supply Fan VFD Trip Alarm | Binary Input | 25 | N/A | N/A | 1 | URGENT | N/A | N/A | N/A | N/A | 0 | N/A | Normal;Alarm | 62
AHU_01 | D_1F_01_AHU_01_SfFlowSts | Supply Fan Air Flow Status | Binary Input | 26 | N/A | N/A | 1 | LOW | N/A | N/A | N/A | N/A | 10 | N/A | Off;On | 63
AHU_01 | D_1F_01_FAHU_A_EfCmd | Extract Fan ON/OFF Command | Binary Output | 1 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Stop;Start | 64
AHU_01 | D_1F_01_FAHU_A_HRWCmd | HRW Fan On/Off Command | Binary Output | 2 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Stop;Start | 65
AHU_01 | D_1F_01_FAHU_A_SfCmd | Supply Fan ON/OFF Command | Binary Output | 3 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Stop;Start | 66
AHU_01 | D_1F_01_AHU_01_SfCmd | Supply Fan ON/OFF Command | Binary Output | 4 | 0 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Stop;Start | 67
GS

## Sheet2 (hidden)
| Fields marked with * can be updated |  |  | Fields marked with * can be updated
Plant Name | Instance | Datapoint ID | Plant Name | Instance | Datapoint ID | TRUE | TRUE | TRUE
AHU_01 | 1 | 1 | AHU_01 | 1 | 1 | TRUE | TRUE | TRUE
AHU_01 | 2 | 2 | AHU_01 | 2 | 2 | TRUE | TRUE | TRUE
AHU_01 | 3 | 3 | AHU_01 | 3 | 3 | TRUE | TRUE | TRUE
AHU_01 | 4 | 4 | AHU_01 | 4 | 4 | TRUE | TRUE | TRUE
AHU_01 | 5 | 5 | AHU_01 | 5 | 5 | TRUE | TRUE | TRUE
AHU_01 | 6 | 6 | AHU_01 | 6 | 6 | TRUE | TRUE | TRUE
AHU_01 | 7 | 7 | AHU_01 | 7 | 7 | TRUE | TRUE | TRUE
AHU_01 | 8 | 8 | AHU_01 | 8 | 8 | TRUE | TRUE | TRUE
AHU_01 | 9 | 9 | AHU_01 | 9 | 9 | TRUE | TRUE | TRUE
AHU_01 | 10 | 10 | AHU_01 | 10 | 10 | TRUE | TRUE | TRUE
AHU_01 | 11 | 11 | AHU_01 | 11 | 11 | TRUE | TRUE | TRUE
AHU_01 | 12 | 12 | AHU_01 | 12 | 12 | TRUE | TRUE | TRUE
AHU_01 | 13 | 13 | AHU_01 | 13 | 13 | TRUE | TRUE | TRUE
AHU_01 | 14 | 14 | AHU_01 | 14 | 14 | TRUE | TRUE | TRUE
AHU_01 | 15 | 15 | AHU_01 | 15 | 15 | TRUE | TRUE | TRUE
AHU_01 | 16 | 16 | AHU_01 | 16 | 16 | TRUE | TRUE | TRUE
AHU_01 | 17 | 17 | AHU_01 | 17 | 17 | TRUE | TRUE | TRUE
AHU_01 | 18 | 18 | AHU_01 | 18 | 18 | TRUE | TRUE | TRUE
AHU_01 | 19 | 19 | AHU_01 | 19 | 19 | TRUE | TRUE | TRUE
AHU_01 | 20 | 20 | AHU_01 | 20 | 20 | TRUE | TRUE | TRUE
AHU_01 | 21 | 21 | AHU_01 | 21 | 21 | TRUE | TRUE | TRUE
AHU_01 | 22 | 22 | AHU_01 | 22 | 22 | TRUE | TRUE | TRUE
AHU_01 | 23 | 23 | AHU_01 | 23 | 23 | TRUE | TRUE | TRUE
AHU_01 | 24 | 24 | AHU_01 | 24 | 24 | TRUE | TRUE | TRUE
AHU_01 | 25 | 25 | AHU_01 | 25 | 25 | TRUE | TRUE | TRUE
AHU_01 | 26 | 26 | AHU_01 | 26 | 26 | TRUE | TRUE | TRUE
AHU_01 | 27 | 27 | AHU_01 | 27 | 27 | TRUE | TRUE | TRUE
AHU_01 | 28 | 28 | AHU_01 | 28 | 28 | TRUE | TRUE | TRUE
AHU_01 | 1 | 29 | AHU_01 | 1 | 29 | TRUE | TRUE | TRUE
AHU_01 | 2 | 30 | AHU_01 | 2 | 30 | TRUE | TRUE | TRUE
AHU_01 | 3 | 31 | AHU_01 | 3 | 31 | TRUE | TRUE | TRUE
AHU_01 | 4 | 32 | AHU_01 | 4 | 32 | TRUE | TRUE | TRUE
AHU_01 | 5 | 33 | AHU_01 | 5 | 33 | TRUE | TRUE | TRUE
AHU_01 | 6 | 34 | AHU_01 | 6 | 34 | TRUE | TRUE | TRUE
AHU_01 | 7 | 35 | AHU_01 | 7 | 35 | TRUE | TRUE | TRUE
AHU_01 | 8 | 36 | AHU_01 | 8 | 36 | TRUE | TRUE | TRUE
AHU_01 | 9 | 37 | AHU_01 | 9 | 37 | TRUE | TRUE | TRUE
AHU_01 | 1 | 38 | AHU_01 | 1 | 38 | TRUE | TRUE | TRUE
AHU_01 | 2 | 39 | AHU_01 | 2 | 39 | TRUE | TRUE | TRUE
AHU_01 | 3 | 40 | AHU_01 | 3 | 40 | TRUE | TRUE | TRUE
AHU_01 | 4 | 41 | AHU_01 | 4 | 41 | TRUE | TRUE | TRUE
AHU_01 | 5 | 42 | AHU_01 | 5 | 42 | TRUE | TRUE | TRUE
AHU_01 | 6 | 43 | AHU_01 | 6 | 43 | TRUE | TRUE | TRUE
AHU_01 | 7 | 44 | AHU_01 | 7 | 44 | TRUE | TRUE | TRUE
AHU_01 | 8 | 45 | AHU_01 | 8 | 45 | TRUE | TRUE | TRUE
AHU_01 | 9 | 46 | AHU_01 | 9 | 46 | TRUE | TRUE | TRUE
AHU_01 | 10 | 47 | AHU_01 | 10 | 47 | TRUE | TRUE | TRUE
AHU_01 | 11 | 48 | AHU_01 | 11 | 48 | TRUE | TRUE | TRUE
AHU_01 | 12 | 49 | AHU_01 | 12 | 49 | TRUE | TRUE | TRUE
AHU_01 | 13 | 50 | AHU_01 | 13 | 50 | TRUE | TRUE | TRUE
AHU_01 | 14 | 51 | AHU_01 | 14 | 51 | TRUE | TRUE | TRUE
AHU_01 | 15 | 52 | AHU_01 | 15 | 52 | TRUE | TRUE | TRUE
AHU_01 | 16 | 53 | AHU_01 | 16 | 53 | TRUE | TRUE | TRUE
AHU_01 | 17 | 54 | AHU_01 | 17 | 54 | TRUE | TRUE | TRUE
AHU_01 | 18 | 55 | AHU_01 | 18 | 55 | TRUE | TRUE | TRUE
AHU_01 | 19 | 56 | AHU_01 | 19 | 56 | TRUE | TRUE | TRUE
AHU_01 | 20 | 57 | AHU_01 | 20 | 57 | TRUE | TRUE | TRUE
AHU_01 | 21 | 58 | AHU_01 | 21 | 58 | TRUE | TRUE | TRUE
AHU_01 | 22 | 59 | AHU_01 | 22 | 59 | TRUE | TRUE | TRUE
AHU_01 | 23 | 60 | AHU_01 | 23 | 60 | TRUE | TRUE | TRUE
AHU_01 | 24 | 61 | AHU_01 | 24 | 61 | TRUE | TRUE | TRUE
AHU_01 | 25 | 62 | AHU_01 | 25 | 62 | TRUE | TRUE | TRUE
AHU_01 | 26 | 63 | AHU_01 | 26 | 63 | TRUE | TRUE | TRUE
AHU_01 | 1 | 64 | AHU_01 | 1 | 64 | TRUE | TRUE | TRUE
AHU_01 | 2 | 65 | AHU_01 | 2 | 65 | TRUE | TRUE | TRUE
AHU_01 | 3 | 66 | AHU_01 | 3 | 66 | TRUE | TRUE | TRUE
AHU_01 | 4 | 67 | AHU_01 | 4 | 67 | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE
[6 empty] | TRUE | TRUE | TRUE

## under_hood (hidden)
1
| welcomeclosed | 1 | 1
| nopopups | 0
1

## Macros (hidden)
NOTICE
Macros must be enabled for this tool to work.
To enable macros…
1) Follow the prompt above and select 'Enable this content'
OR
2) Navigate to Excel Options -> Trust Center -> Trust Center Settings -> Macros Settings and select 'Enable All Macros' and restart tool.

## EID Admin (hidden)
1

## EID_Info (hidden)
0 | 38
E490923
E673224
E675535
E154211
E279643
E154693
E406530
E310468
E153379
E154866
E595513
E490922
E546878
e673936
E156909
E398404
E714452
e348325
E361899
E154195
E380749
E309271
E328698
E378359
E153261
E315801
E596271
E550247
E490922
E310468
E154693
E590024
E525486
E862620
E800870
E458369
H131216
H224834

## Worksheet_Info (hidden)
8
| Summary | -1
| Controllers & Plants | -1
| Datapoints | -1
| under_hood | -1
| Macros | -1
| EID Admin | -1
| EID_Info | -1
| Worksheet_Info | -1
| Text | -1
| Sheet2 | -1
1

## Text (hidden)
Number | Text |  | EngineeringUnitID | EngineeringUnit | StateTextID | NumberOfStates | StateText |  | DescriptionID | Description | NotificationClassID | NotificationClassName | SELECT XLBController.controllername as Controller_Name,XLBController.controllerdescription as Description,XLBController.controllernumber as Device_ID, subnetname as Subnet, XLBController.ipaddress as IP_Address, XLBController.controllertypeid as Controller_Type,XLBController2.controllername as Zone_Controller,channelname as Channel, plantname as Plant_Name, plantdescritpion as Plant_Description FROM XLBController left join XLBSubnet on XLBController.SubnetID = XLBSubnet.SubnetID left join XLBChannel on XLBController.channelid = XLBChannel.channelid left join XLBController as XLBController2 on XLBController.zonecontrollerid = XLBController2.controllerid inner join XLBPlant on XLBController.ControllerID = XLBPlant.ControllerID order by Controller_Name | Update XLBAnalogInput Set COVIncrement= 0.2, AlarmEnable= 1, NotificationClassID= 1, ToOffNormalEventEnable= 1, BackToNormalEventEnable= 1, HighLimit= 100, LowLimit= 0, HighLimitEnable= 1, LowLimitEnable= 1, TimeDelay= 600, EnggUnitID= 94 Where DataPointID= 11
match 128 | CPO-PC-6A |  | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A
match 2 | CP-VAV | Select xlbdatapoint.useraddress as User_Address,xlbdatapoint.InstanceID as Instance,xlbdatapoint.datapointid as DataPoint_ID, xlbpointtypes.PointType as PointType, xlbdescriptors.description as Descriptor, xlbplant.plantname as PlantName, coalesce(xlbanalogflag.DefaultValue,xlbbinaryflag.DefaultValue,xlbanalogvalue.relinquishdefault, xlbbinaryvalue.relinquishdefault,xlbanalogoutput.relinquishdefault,xlbbinaryoutput.relinquishdefault,xlbmultistatevalue.relinquishdefault,'-1') as RD, coalesce(xlbanaloginput.COVIncrement,xlbanalogvalue.COVIncrement,xlbanalogoutput.COVIncrement,xlbbinaryinput.COVIncrement, xlbbinaryvalue.COVIncrement,xlbbinaryoutput.COVIncrement,xlbmultistatevalue.COVIncrement,'-1') as COV, coalesce(xlbanaloginput.AlarmEnable,xlbanalogvalue.AlarmEnable,xlbbinaryinput.AlarmEnable, xlbbinaryvalue.AlarmEnable,xlbmultistatevalue.AlarmEnable,'-1') as alarm_enabled, coalesce(xlbnotificationclass.NotificationClassName,'-1') as note_class, coalesce(xlbanaloginput.HighLimit,xlbanalogvalue.HighLimit,'-1') as alarm_high, coalesce(xlbanaloginput.HighLimitEnable,xlbanalogvalue.HighLimitEnable,'-1') as alarm_high_enabled, coalesce(xlbanaloginput.LowLimit,xlbanalogvalue.LowLimit,'-1') as alarm_low, coalesce(xlbanaloginput.LowLimitEnable,xlbanalogvalue.LowLimitEnable,'-1') as alarm_low_enabled, coalesce(xlbanaloginput.TimeDelay,xlbanalogvalue.TimeDelay,xlbbinaryinput.TimeDelay, xlbbinaryvalue.TimeDelay,xlbmultistatevalue.TimeDelay,'-1') as time_delay, coalesce(XLBEngineeringUnit.EngineeringUnit,'-1') as eng_unit, coalesce(XLBStateText.StateText,'-1') as state_text from xlbdatapoint inner join xlbpointtypes on xlbdatapoint.pointtype = xlbpointtypes.PointTypeID inner join XLBDescriptors on xlbdatapoint.descriptionid = XLBDescriptors.DescriptionID inner join XLBPlant on xlbdatapoint.plantid = XLBPlant.PLantID left join xlbanalogflag on xlbdatapoint.DataPointID= xlbanalogflag.DataPointID left join xlbbinaryflag on xlbdatapoint.DataPointID= xlbbinaryflag.DataPointID left join xlbanalogvalue on xlbdatapoint.DataPointID= xlbanalogvalue.DataPointID left join xlbanaloginput on xlbdatapoint.DataPointID= xlbanaloginput.DataPointID left join xlbanalogoutput on xlbdatapoint.DataPointID= xlbanalogoutput.DataPointID left join XLBBinaryInput on xlbdatapoint.DataPointID= XLBBinaryInput.DataPointID left join xlbbinaryvalue on xlbdatapoint.DataPointID= xlbbinaryvalue.DataPointID left join xlbbinaryoutput on xlbdatapoint.DataPointID= xlbbinaryoutput.DataPointID left join xlbmultistatevalue on xlbdatapoint.DataPointID= xlbmultistatevalue.DataPointID left join XLBEngineeringUnit on xlbanalogvalue.enggunitid = XLBEngineeringUnit.engineeringunitID or xlbanaloginput.enggunitid = XLBEngineeringUnit.engineeringunitID or xlbanalogoutput.enggunitid = XLBEngineeringUnit.engineeringunitID left join xlbnotificationclass on xlbanalogvalue.NotificationClassID = xlbnotificationclass.NotificationClassID or xlbmultistatevalue.NotificationClassID = xlbnotificationclass.NotificationClassID or xlbbinaryvalue.NotificationClassID = xlbnotificationclass.NotificationClassID or xlbbinaryinput.NotificationClassID = xlbnotificationclass.NotificationClassID or xlbanaloginput.NotificationClassID = xlbnotificationclass.NotificationClassID left join XLBStateText on XLBBinaryValue.StateTextID =XLBStateText.StateTextID or XLBBinaryInput.StateTextID =XLBStateText.StateTextID or XLBBinaryOutput.StateTextID =XLBStateText.StateTextID or XLBMultistateValue.StateTextID =XLBStateText.StateTextID where (xlbpointtypes.PointType = 'Analog Value' or xlbpointtypes.PointType = 'Analog Input' or xlbpointtypes.PointType = 'Analog Output' or xlbpointtypes.PointType = 'Binary Value' or xlbpointtypes.PointType = 'Analog Flag' or xlbpointtypes.PointType = 'Binary Flag' or xlbpointtypes.PointType = 'Binary Input' or xlbpointtypes.PointType = 'Binary Output' or xlbpointtypes.PointType = 'Multistate Value') | 137 | % | 1 | 2 | Stop;Start |  | -1 |  | 1 | URGENT
match 3 | CP-SPC |  | 138 | % obsc.per ft | 2 | 2 | Off;On |  | 1 | Floor Damper Feedback Signal | 2 | HIGH
match 4 | CP-DIO |  | 139 | % obsc.per m | 3 | 2 | Close;Open |  | 2 | Floor Damper Feedback Signal | 3 | LOW
match 5 | Third Party-IP |  | 140 | %/sec | 4 | 2 | False;True |  | 3 | Floor Damper Feedback Signal
match 6 | Third Party-MSTP |  | 1 | °C | 5 | 5 | Stage1;Stage2;Stage3;Stage4;Stage5 |  | 4 | Floor Damper Feedback Signal
match 1 | CP-IPC |  | 126 | °C/h | 6 | 3 | Closed;Open;Invalid |  | 5 | Floor Damper Feedback Signal
match 9 | CP-CORE |  | 127 | °C/min | 7 | 2 | Normal;Alarm |  | 6 | Floor Damper Feedback Signal
match 129 | CPO-VAV2A |  | 94 | °F | 9 | 2 | Passive;Active |  | 7 | Floor Damper Feedback Signal
|  |  | 128 | °F/h | 11 | 2 | UnOccupied;Occupied |  | 8 | Supply Air Temperature
|  |  | 129 | °F/min | 12 | 2 | Summer;Winter |  | 9 | Supply Air Temperature
|  |  | 93 | °K | 13 | 2 | Failed;OK |  | 10 | Floor Damper Feedback Signal
|  |  | 52 | 1/h |  |  |  |  | 11 | Floor Damper Feedback Signal
|  |  | 141 | 1/min |  |  |  |  | 12 | Floor Damper Feedback Signal
|  |  | 145 | 1/sec |  |  |  |  | 13 | Supply Air Temperature
|  |  | 17 | A |  |  |  |  | 14 | Floor Damper Feedback Signal
|  |  | 3 | bars |  |  |  |  | 15 | Floor Damper Feedback Signal
|  |  | 39 | BTU |  |  |  |  | 16 | Floor Damper Feedback Signal
|  |  | 78 | BTU/h |  |  |  |  | 17 | Supply Air Temperature
|  |  | 43 | BTU/lb dry air |  |  |  |  | 18 | Floor Damper Feedback Signal
|  |  | 44 | btus-per-pound |  |  |  |  | 19 | Floor Damper Feedback Signal
|  |  | 56 | cm |  |  |  |  | 20 | Floor Damper Feedback Signal
|  |  | 90 | cm Hg |  |  |  |  | 21 | Floor Damper Feedback Signal
|  |  | 87 | cm water |  |  |  |  | 22 | Floor Damper Feedback Signal
|  |  | 76 | cm^2 |  |  |  |  | 23 | Floor Damper Feedback Signal
|  |  | 117 | cubic-feet-per-minute |  |  |  |  | 24 | Floor Damper Feedback Signal
|  |  | 5 | curr1 |  |  |  |  | 25 | Floor Damper Feedback Signal
|  |  | 15 | curr10 |  |  |  | 13 | 26 | Floor Damper Feedback Signal
|  |  | 6 | curr2 |  |  |  |  | 27 | Room Temperature
|  |  | 7 | curr3 |  |  |  |  | 28 | Dewpoint Temperature
|  |  | 8 | curr4 |  |  |  |  | 29 | Room Temperature
|  |  | 10 | curr5 |  |  |  |  | 30 | Dewpoint Temperature
|  |  | 11 | curr6 |  |  |  |  | 31 | Room Temperature
|  |  | 12 | curr7 |  |  |  |  | 32 | Room Temperature
|  |  | 13 | curr8 |  |  |  |  | 33 | Dewpoint Temperature
|  |  | 14 | curr9 |  |  |  |  | 34 | Room Temperature
|  |  | 47 | cycles-per-hour |  |  |  |  | 35 | Room Temperature
|  |  | 48 | cycles-per-minute |  |  |  |  | 36 | Dewpoint Temperature
|  |  | 102 | d |  |  |  |  | 37 | Room Temperature
|  |  | 95 | deg day C |  |  |  |  | 38 | Room Temperature
|  |  | 96 | deg day F |  |  |  |  | 39 | Dewpoint Temperature
|  |  | 125 | degrees-angular |  |  |  |  | 40 | Room Temperature
|  |  | 31 | degrees-phase |  |  |  |  | 41 | Dewpoint Temperature
|  |  | 97 | delta °F |  |  |  |  | 42 | Room Temperature
|  |  | 98 | delta °K |  |  |  |  | 43 | Room Temperature
|  |  | 111 | f^3 |  |  |  |  | 44 | Dewpoint Temperature
|  |  | 59 | feet |  |  |  |  | 45 | Room Temperature
|  |  | 85 | feet^2 |  |  |  |  | 46 | Dewpoint Temperature
|  |  | 64 | foot-candles |  |  |  |  | 47 | Room Temperature
|  |  | 109 | ft/min |  |  |  |  | 48 | Dewpoint Temperature
|  |  | 108 | ft/s |  |  |  |  | 49 | Dewpoint Temperature
|  |  | 119 | ft^3/h |  |  |  |  | 50 | Dewpoint Temperature
|  |  | 116 | ft^3/min |  |  |  |  | 51 | Tenant Exhaust Air Damper Feedback
|  |  | 53 | grams-of-water-per-kilogram-dry-air |  |  |  |  | 52 | Tenant Exhaust Air Damper Feedback
|  |  | 103 | h |  |  |  |  | 53 | Room Temperature
|  |  | 79 | horsepower |  |  |  |  | 54 | Room CO2 Sensor
|  |  | 82 | hPa |  |  |  |  | 55 | Room CO2 Sensor
|  |  | 49 | Hz |  |  |  |  | 56 | Room CO2 Sensor
|  |  | 113 | imperial-gallons |  |  |  |  | 57 | Room CO2 Sensor
|  |  | 120 | imperial-gallons-per-minute |  |  |  |  | 58 | Room CO2 Sensor
|  |  | 91 | in Hg |  |  |  |  | 59 | Room Temperature
|  |  | 58 | inch |  |  |  |  | 60 | Floor Supply Air Damper
|  |  | 88 | inch water |  |  |  |  | 61 | Floor Supply Air Damper
|  |  | 4 | inch^2 |  |  |  |  | 62 | Floor Supply Air Damper
|  |  | 33 | J |  |  |  |  | 63 | Return Air Damper
|  |  | 46 | j/(kg K) |  |  |  |  | 64 | Floor Supply Air Damper
|  |  | 45 | j/K |  |  |  |  | 65 | Floor Supply Air Damper
|  |  | 42 | J/kg dry air |  |  |  |  | 66 | Floor Supply Air Damper
|  |  | 65 | kg |  |  |  |  | 67 | Heating Water Valve
|  |  | 70 | kg/h |  |  |  |  | 68 | Heating Water Valve
|  |  | 69 | kg/min |  |  |  |  | 69 | Floor Supply Air Damper
|  |  | 68 | kg/sec |  |  |  |  | 70 | Floor Supply Air Damper
|  |  | 50 | kHz |  |  |  |  | 71 | Return Air Damper
|  |  | 2 | kilowatts |  |  |  |  | 72 | Floor Supply Air Damper
|  |  | 34 | kJ |  |  |  |  | 73 | Floor Supply Air Damper
|  |  | 35 | kJ/kg |  |  |  |  | 74 | Floor Supply Air Damper
|  |  | 107 | km/h |  |  |  |  | 75 | Heating Water Valve
|  |  | 19 | kOhm |  |  |  |  | 76 | Heating Water Valve
|  |  | 83 | kPa |  |  |  |  | 77 | Floor Supply Air Damper
|  |  | 23 | kV |  |  |  |  | 78 | Return Air Damper
|  |  | 26 | kVA |  |  |  |  | 79 | Floor Supply Air Damper
|  |  | 29 | kVAr |  |  |  |  | 80 | Floor Supply Air Damper
|  |  | 38 | kWh |  |  |  |  | 81 | Floor Supply Air Damper
|  |  | 131 | kWh/ft^2 |  |  |  |  | 82 | Return Air Damper
|  |  | 130 | kWh/m^2 |  |  |  |  | 83 | Floor Supply Air Damper
|  |  | 114 | ltr |  |  |  |  | 84 | Floor Supply Air Damper
|  |  | 123 | ltr/h |  |  |  |  | 85 | Floor Supply Air Damper
|  |  | 122 | ltr/min |  |  |  |  | 86 | Exhaust Air Damper
|  |  | 121 | ltr/sec |  |  |  |  | 87 | Exhaust Air Damper
|  |  | 62 | lumens |  |  |  |  | 88 | Chilled Water Valve
|  |  | 63 | luxes |  |  |  |  | 89 | Heating Water Valve
|  |  | 57 | m |  |  |  |  | 90 | Heat Recovery Damper
|  |  | 106 | m/s |  |  |  |  | 91 | Heat Recovery Damper
|  |  | 92 | m^2 |  |  |  |  | 92 | Heating Water Valve
|  |  | 112 | m^3 |  |  |  |  | 93 | Heating Water Valve
|  |  | 118 | m^3/sec |  |  |  |  | 94 | Heating Water Valve
|  |  | 16 | mA |  |  |  |  | 95 | Heating Water Valve
|  |  | 24 | megavolts |  |  |  |  | 96 | Heating Water Valve
|  |  | 77 | megawatts |  |  |  |  | 97 | Heating Water Valve
|  |  | 51 | MHz |  |  |  |  | 98 | Vertical Village CHW Isolation Valve
|  |  | 84 | millibars |  |  |  |  | 99 | Vertical Village CHW Isolation Valve
|  |  | 74 | milliwatts |  |  |  |  | 100 | Vertical Village CHW Isolation Valve
|  |  | 104 | min |  |  |  |  | 101 | Vertical Village CHW Isolation Valve
|  |  | 36 | MJ |  |  |  |  | 102 | Floor Supply Air Damper
|  |  | 133 | MJ/ft^2 |  |  |  |  | 103 | Floor Supply Air Damper
|  |  | 132 | MJ/m^2 |  |  |  |  | 104 | Floor Supply Air Damper
|  |  | 110 | mls/h |  |  |  |  | 105 | Return Air Damper
|  |  | 55 | mm |  |  |  |  | 106 | Floor Supply Air Damper
|  |  | 89 | mm Hg |  |  |  |  | 107 | Floor Supply Air Damper
|  |  | 20 | MOhm |  |  |  |  | 108 | Floor Supply Air Damper
|  |  | 100 | mon |  |  |  |  | 109 | Floor Supply Air Damper
|  |  | 22 | MV |  |  |  |  | 110 | Floor Supply Air Damper
|  |  | 27 | MVA |  |  |  |  | 111 | Return Air Damper
|  |  | 30 | mVAr |  |  |  |  | 112 | Floor Supply Air Damper
|  |  | 134 | no-units |  |  |  |  | 113 | Floor Supply Air Damper
|  |  | 18 | Ohm |  |  |  |  | 114 | Floor Supply Air Damper
|  |  | 81 | Pa |  |  |  |  | 115 | Floor Supply Air Damper
|  |  | 136 | parts-per-billion |  |  |  |  | 116 | Return Air Damper
|  |  | 135 | parts-per-million |  |  |  |  | 117 | Floor Supply Air Damper
|  |  | 54 | percent-relative-humidity |  |  |  |  | 118 | Floor Supply Air Damper
|  |  | 32 | PF |  |  |  |  | 119 | Beam Condensation Status
|  |  | 86 | pounds-force-per-square-inch |  |  |  |  | 120 | Beam Condensation Status
|  |  | 66 | pounds-mass |  |  |  |  | 121 | Beam Condensation Status
|  |  | 73 | pounds-mass-per-hour |  |  |  |  | 122 | Beam Condensation Status
|  |  | 72 | pounds-mass-per-minute |  |  |  |  | 123 | Beam Condensation Status
|  |  | 71 | pounds-mass-per-second |  |  |  |  | 124 | Beam Condensation Status
|  |  | 146 | psi/°F |  |  |  |  | 125 | Beam Condensation Status
|  |  | 147 | rad |  |  |  |  | 126 | Supply Air Fan Status
|  |  | 148 | rpm |  |  |  |  | 127 | Primary Filter Diff Press Switch
|  |  | 105 | s |  |  |  |  | 128 | Beam Condensation Status
|  |  | 40 | therm |  |  |  |  | 129 | Beam Condensation Status
|  |  | 41 | ton/h |  |  |  |  | 130 | Beam Condensation Status
|  |  | 67 | tons |  |  |  |  | 131 | Beam Condensation Status
|  |  | 80 | tons-refrigeration |  |  |  |  | 132 | Beam Condensation Status
|  |  | 124 | US gal/min |  |  |  |  | 133 | Beam Condensation Status
|  |  | 115 | US/gal |  |  |  |  | 134 | Beam Condensation Status
|  |  | 21 | V |  |  |  |  | 135 | Beam Condensation Status
|  |  | 25 | VA |  |  |  |  | 136 | Beam Condensation Status
|  |  | 28 | VAr |  |  |  |  | 137 | Beam Condensation Status
|  |  | 60 | W/ft^2 |  |  |  |  | 138 | Beam Condensation Status
|  |  | 61 | W/m^2 |  |  |  |  | 139 | Beam Condensation Status
|  |  | 149 | W/m^2°k |  |  |  |  | 140 | Beam Condensation Status
|  |  | 75 | watts |  |  |  |  | 141 | Supply Air Fan Status
|  |  | 37 | wh |  |  |  |  | 142 | Primary Filter Diff Press Switch
|  |  | 101 | wk |  |  |  |  | 143 | Supply Air Fan Status
|  |  | 99 | yr |  |  |  |  | 144 | Primary Filter Diff Press Switch
[9 empty] | 145 | Beam Condensation Status
[9 empty] | 146 | Beam Condensation Status
[9 empty] | 147 | Beam Condensation Status
[9 empty] | 148 | Beam Condensation Status
[9 empty] | 149 | Beam Condensation Status
[9 empty] | 150 | Beam Condensation Status
[9 empty] | 151 | Beam Condensation Status
[9 empty] | 152 | Beam Condensation Status
[9 empty] | 153 | Beam Condensation Status
[9 empty] | 154 | Beam Condensation Status
[9 empty] | 155 | Beam Condensation Status
[9 empty] | 156 | Beam Condensation Status
[9 empty] | 157 | Beam Condensation Status
[9 empty] | 158 | Supply Air Fan Status
[9 empty] | 159 | Primary Filter Diff Press Switch
[9 empty] | 160 | Beam Condensation Status
[9 empty] | 161 | Beam Condensation Status
[9 empty] | 162 | Beam Condensation Status
[9 empty] | 163 | Beam Condensation Status
[9 empty] | 164 | Beam Condensation Status
[9 empty] | 165 | Beam Condensation Status
[9 empty] | 166 | Beam Condensation Status
[9 empty] | 167 | Beam Condensation Status
[9 empty] | 168 | Beam Condensation Status
[9 empty] | 169 | Beam Condensation Status
[9 empty] | 170 | Beam Condensation Status
[9 empty] | 171 | Beam Condensation Status
[9 empty] | 172 | Beam Condensation Status
[9 empty] | 173 | Beam Condensation Status
[9 empty] | 174 | Supply Air Fan Status
[9 empty] | 175 | Primary Filter Diff Press Switch
[9 empty] | 176 | Beam Condensation Status
[9 empty] | 177 | Beam Condensation Status
[9 empty] | 178 | Beam CHW Close
[9 empty] | 179 | Beam CHW Open
[9 empty] | 180 | Beam CHW Close
[9 empty] | 181 | Beam CHW Open
[9 empty] | 182 | Beam CHW Close
[9 empty] | 183 | Beam CHW Open
[9 empty] | 184 | Beam CHW Close
[9 empty] | 185 | Beam CHW Open
[9 empty] | 186 | Beam CHW Close
[9 empty] | 187 | Beam CHW Open
[9 empty] | 188 | Beam CHW Close
[9 empty] | 189 | Beam CHW Open
[9 empty] | 190 | Beam CHW Close
[9 empty] | 191 | Beam CHW Open
[9 empty] | 192 | Beam CHW Close
[9 empty] | 193 | Beam CHW Open
[9 empty] | 194 | Beam CHW Close
[9 empty] | 195 | Beam CHW Open
[9 empty] | 196 | Beam CHW Close
[9 empty] | 197 | Beam CHW Open
[9 empty] | 198 | Beam CHW Close
[9 empty] | 199 | Beam CHW Open
[9 empty] | 200 | Beam CHW Close
[9 empty] | 201 | Beam CHW Open
[9 empty] | 202 | Beam CHW Close
[9 empty] | 203 | Beam CHW Open
[9 empty] | 204 | Beam CHW Close
[9 empty] | 205 | Beam CHW Open
[9 empty] | 206 | Beam CHW Close
[9 empty] | 207 | Beam CHW Open
[9 empty] | 208 | Supply Air Fan Command
[9 empty] | 209 | Flt Damper Cls
[9 empty] | 210 | Flt Damper Opn
[9 empty] | 211 | Beam CHW Close
[9 empty] | 212 | Beam CHW Open
[9 empty] | 213 | Flt Damper Cls
[9 empty] | 214 | Flt Damper Opn
[9 empty] | 215 | Beam CHW Close
[9 empty] | 216 | Beam CHW Open
[9 empty] | 217 | Beam CHW Close
[9 empty] | 218 | Beam CHW Open
[9 empty] | 219 | Flt Damper Cls
[9 empty] | 220 | Flt Damper Opn
[9 empty] | 221 | Beam CHW Close
[9 empty] | 222 | Beam CHW Open
[9 empty] | 223 | Flt Damper Cls
[9 empty] | 224 | Flt Damper Opn
[9 empty] | 225 | Beam CHW Close
[9 empty] | 226 | Beam CHW Open
[9 empty] | 227 | Flt Damper Cls
[9 empty] | 228 | Flt Damper Opn
[9 empty] | 229 | Beam CHW Close
[9 empty] | 230 | Beam CHW Open
[9 empty] | 231 | Flt Damper Cls
[9 empty] | 232 | Flt Damper Opn
[9 empty] | 233 | Beam CHW Close
[9 empty] | 234 | Beam CHW Open
[9 empty] | 235 | Flt Damper Cls
[9 empty] | 236 | Flt Damper Opn

## Sheet4
Sr.No | Controller Name* | Model Type* | Model Name* | CP-CORE | 1
1 | DDC-01 | IP | CPO-PC-6A | CP-HMI | 2
2 | DDC-02 | IP | CPO-PC-6A | CP-IPC | 3
3 | ddc-03 | IP | CPO-PC-6A | CPO-PC-6A | 4
4 | ddc-04 | IP | CPO-PC-6A | Third Party-IP | 5
5 | ddc-05 | IP | CPO-PC-6A
6 | ddc-06 | IP | CPO-PC-6A | IP
7 | ddc-07 | IP | CPO-PC-6A | MSTP
8 | ddc-08 | IP | CPO-PC-6A | Others
9 | ddc-09 | IP | CPO-PC-6A
CP IO Bus
Pannel Bus
|  |  |  | CPO-IO830 | 18
|  |  |  | XF821 | 13
|  |  |  | XF822 | 14
|  |  |  | XF823 | 15
|  |  |  | XF824 | 16
|  |  |  | XFR825 | 17
|  |  |  | XFR822 | 19
|  |  |  | XFR824 | 20
|  |  |  | CP-DIO_IO | 8
|  |  |  | CP-EXPIO | 6
XF821